## Summary
CON-MAU-CCTV-BOQ-Tuluawliya
No. | Item | Total(ETB)
1 | CCTV | 30845502.837
2 | CCTV SOC | 10616362.08
3 | OCS | 38190055.14
4 | CCTV and OCS _SCS | 4509529.5
5 | Professional Service | 12049987.5
| GRAND TOTAL | 96211437.057
Terms and Conditions
1 | Validity - 120 days
2 | Project Milestones (Not necessarily in specific order)
2.1. Milestone-1: Supply of SCS
2.2.Milestone-2:Supply of server , ID card printer, Smart card, Ribon Kit, Poly guard laminate, Barcode scanner and Printer
2.3. Milestone-3: Supply of Face recognition device, Enrolment device, Floor Stand Signage, Turnstile and Windows Software
2.4. Milestone-4: Supply of devices for Control Room( Access control and accessories, display screen with accessories, wall controller, SOC room furniture)
2.5. Milestone-5: Supply of Backup server and storage , server
2.6.Milestone-6: Supply of CCTV (Indoor Camera, IVMS, NVR, Video Controller, video wall controller,Worksation)
2.7.Milestone-7: Supply of CCTV (Outdoor Camera and other accessories )
2.8. Milestone-8: Supply of UPS (1.5kva, and 10KVA)
2.9.Milestone-9:professional service
3 | Payment Schedule for Goods, Professional Service and software licenses per Milestone
3.1. 30% upon signing of contract
3.2. 70% After delivery of each milistone
4 | Third party risks which might extend the delivery period
4.1. Delay in approval of foreign currency (LC/CAD) to import the items
4.2. Unforeseen circumstances during custom clearance
4.3. Payment for delivered milestone is prerequisite for the next milestone. Any delay in payment would extend project period accordingly.

## CCTV
0
CON-MAU-CCTV-BOQ-Tuluawliya
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price Including VAT (ETB) | Total Price Including VAT (ETB)
1 | NVR | [14 empty] | 1549717.92 | 1549717.92
1.1 | DHI-IVSS7024DR | > Industry embedded micro-controller > Max 512 Mbps incoming bandwidth > 256-channel IP video access > Up to 96-channel AI IVS > Up to 96-channel face recognition with normal IPC > Up to 256-channel face recognition with face detection IPC > Up to 96-channel video metadata > Up to 50 face databases with 500,000 face pictures in total > Supports RAID 0/1/5/6/10/50/60 > 3 HDMI/1 VGA video output > Redundant power | 1 | Pcs | 3199 | 3199 | 0% | 3199 | 3199 | 10% | 10% | 40% | 35% | 6909.84 | 6909.84 | 953557.92 | 953557.92
1.1 | ST8000NM018B | Seagete Enterprise HDD/8TB/7200RPM/256MB/SATA/（2KE101） | 10 | Pcs | 200 | 2000 | 0% | 200 | 2000 | 10% | 10% | 40% | 35% | 432 | 4320 | 59616 | 596160
2 | Storage and Backup Server | [14 empty] | 2119646.88 | 4239293.76
2.1 | Dell PowerEdge R740xd2 | Processor Processor Type: 2x Intel® Xeon® Gold Memory Capacity 3x32GB RDIMM, 3200MT/s, Dual Rank, 8Gb BASE Memory Configuration Performance Optimized Memory DIMM Type and Speed 3200MT/s /s RDIMMs DISK 8x 8TB 7.2K RPM 2Gbps 512n 2.5in Hot-plug Hard Drive | 2 | Pcs | 7111 | 14222 | 0% | 7111 | 14222 | 10% | 10% | 40% | 35% | 15359.76 | 30719.52 | 2119646.88 | 4239293.76
3 | 8port poe Switch
3.1 | CloudEngine S5735-L8P4X-A1 | 8 x 10/100/1000Base-T ports, 4 x 10 GE SFP+ ports AC power supply CloudEngine S5735-L Series Switches Datasheet 2 Models and Appearances Description PoE+ Forwarding performance: 72 Mpps Switching capacity: 96 Gbps/336 Gbps | 30 | Pcs | 260 | 7800 | 0% | 260 | 7800 | 10% | 10% | 40% | 35% | 561.6 | 16848 | 77500.8 | 2325024
4 | Outdoor bullet Camera | [14 empty] | 31574.124 | 631482.48
4.1 | DH-IPC-HFW3441MP-AS-I2-0360-B | > 4MP, 1/3” CMOS image sensor, low illuminance, high image definition > Outputs max. 4MP (2688 × 1520)@30 fps > H.265 codec, high compression rate, low bit rate > Built-in IR LED, max. IR distance: 80 m > Alarm: 2 in, 2 out; Audio: In, out; supports max. 256 G Micro SD card > 12V DC/PoE power supply, 12V power output, max. current 165mA > IP67 protection > SMD Plus | 20 | Pcs | 76 | 1520 | 0% | 76 | 1520 | 10% | 10% | 103% | 35% | 228.798 | 4575.96 | 31574.124 | 631482.48
5 | Outdoor PTZ Dome Camera | [5 empty] | 0% | [8 empty] | 172826.784 | 2592401.76
5.1 | DH-SD5A225XA-HNR-SL | > 1/2.8" 2Megapixel STARVIS™ CMOS > Powerful 25x optical zoom > Starlight Technology > Max. 50/60fps@1080P > IR distance up to 150 m > SMD PLUS > Deep-learning-based perimeter protection > Auto-tracking and IVS > PoE+ > IP67, IK10 | 15 | Pcs | 416 | 6240 | 0% | 416 | 6240 | 10% | 10% | 103% | 35% | 1252.368 | 18785.52 | 172826.784 | 2592401.76
6 | Indoor Dome Camera | [5 empty] | 0%
6.1 | DH-IPC-HDBW3441EP-AS-0280B | 1/2.7" Progressive Scan CMOS; H.265+/H.265/H.264+/H.264/MJPEG; Powered by Darkfighter technology,Color: 0.012 lux @(F1.6, AGC ON), 0 lux with IR; 25fps/30fps(2688×1520,2304×1296,1920×1080); VCA functions; 3 streams; 3D DNR; BLC; ICR; EXIR; DC12V&PoE; Built-in micro SD/SDHC/SDXC slot; HIK-Connect cloud service *-S model: Audio/Alarm I/O | 20 | Pcs | 68 | 1360 | 0% | 68 | 1360 | 10% | 10% | 103% | 35% | 204.714 | 4094.28 | 28250.532 | 565010.64
7 | Fisheye Camera | [5 empty] | 0%
7.1 | DH-IPC-EBW81230P | > 1/1.7” 12Megapixel progressive scan STARVIS™ CMOS > H.265/H.264 triple-stream encoding > Max 25fps@12M(4000x3000) > Multiple dewarped Mode > Day/Night(ICR), 3DNR, AWB, AGC, BLC > Smart detection > Intelligent Function > Max. IR LEDs length 10m > Micro SD memory, IP67, IK10, PoE | 10 | Pcs | 303 | 3030 | 0% | 303 | 3030 | 10% | 10% | 103% | 35% | 912.1815 | 9121.815 | 125881.047 | 1258810.47
8 | Standalone Solar powered Network Camera | [5 empty] | 0%
8.1 | DH-IPC-HFW3241DFP-AS-4G-NL668-0280B | 150W Solar Panel DH-PFM371-150 Solar panel mounting bracket DH-PFM376-C Distribution box DH-PFM377-D2440 Lead Acid Battery PFM372-100-CNF Battery storage box DH-PFM374-H400 | 3 | Pcs | 901 | 2703 | 0% | 901 | 2703 | 10% | 10% | 103% | 35% | 2712.4605 | 8137.3815 | 374319.549 | 1122958.647
10 | Display Screen With mounting accessories | [14 empty] | 667997.28 | 1335994.56
10.1 | DHI-LS550UDM-EG | 55" Dahua display unit(1.8mm) | 2 | Pcs | 1600 | 3200 | 0% | 1600 | 3200 | 10% | 10% | 92% | 35% | 4579.2 | 9158.4 | 631929.6 | 1263859.2
10.2 | LS550-E/U-B11 | Simple Bracket for 1pcs 55" screen | 2 | Pcs | 38 | 76 | 0% | 38 | 76 | 10% | 10% | 40% | 35% | 82.08 | 164.16 | 11327.04 | 22654.08
10.3 | HDMI cable Project accessory kit IR extended cable Wooden Case for Display Unit | HDMI cable DH-W-HDMI15M Project accessory kit DHL470UTS-E IR extended cable D6728 L=3000MM Wooden Case for Display Unit LS550-X1 | 2 | Pcs | 83 | 166 | 0% | 83 | 166 | 10% | 10% | 40% | 35% | 179.28 | 358.56 | 24740.64 | 49481.28
11 | Video wall controller | [5 empty] | 0%
| DHI-NVD0105DH-4K | Designed for standalone operator viewers · H.265+/ H.265/ H.264/ MPEG4/ MPEG2/ MJPEG video decoding · 1ch@32MP(25fps)/3ch@12Mp(15fps)/4ch@8MP/16ch@10 80P/36ch@720P/64ch@D1 decoding ability · Supports multiple resolution decoding: up to 32Mp network video · 1ch HDMI/VGA output, HDMI support Ultra HD 4K output · Supports 1/4/9/16/25/36/64 display split · Supports alarm, RS232, RS485 · Local GUI support mouse operation directly · Supports the display of intelligent regular line | 2 | Pcs | 280 | 560 | 0% | 280 | 560 | 10% | 10% | 40% | 35% | 604.8 | 1209.6 | 83462.4 | 166924.8
12 | 1.5 KVA UPS | [5 empty] | 0%
| Vertive 1.5 KVA UPS EDGE-1500IRM1U | 1U rack format, offers 1500VA/1350W of backup power protection for server and networking equipment. Featuring a high 0.9 power … | 30 | Pcs | 1100 | 33000 | 0% | 1100 | 33000 | 15% | 10% | 72% | 35% | 2925.45 | 87763.5 | 403712.1 | 12111363
13 | PoE Injector 30W | [5 empty] | 0%
| TAM1GT1GT-30 | interface: 1 RJ45 PoE port, 1 RJ45 port; PoE+; | 40 | Pcs | 14 | 560 | 0% | 14 | 560 | 10% | 10% | 40% | 35% | 30.24 | 1209.6 | 4173.12 | 166924.8
14 | VMS with camera license | [5 empty] | 0%
| DHI-DSSPro8-Video-Base-License | DSS Professional V8 video surveillance base package includes 16 video channels and is a prerequisite for video channel expansion. Supported: live view, playback, video wall, map, event center, deepxplore, maintenance center, etc. | 1 | Pcs | 400 | 400 | 0% | 400 | 400 | 10% | 10% | 40% | 35% | 864 | 864 | 119232 | 119232
| DHI-DSSPro8-Video-Channel-License | Video channel expansion license, one video channel license for DSS Professional V8. Prerequisite: Video surveillance base package. | 65 | Pcs | 30 | 1950 | 0% | 30 | 1950 | 10% | 10% | 40% | 35% | 64.8 | 4212 | 8942.4 | 581256
16 | 1G SFP MODULE | [5 empty] | 0%
| SFP -LR-1G | Distance Support up to 10 km | 60 | Pcs | 80 | 4800 | 0% | 80 | 4800 | 10% | 10% | 40% | 35% | 172.8 | 10368 | 23846.4 | 1430784
17 | Core switch | [5 empty] | 0%
| S6730-H24X6C | S6730-H24X6C 24 x 10 Gig SFP+, 6 x 40/100 Gig QSFP28 Dual pluggable power modules, 1+1 power backup Switching capacity: 1.68Tbps/2.4Tbps Note: All ports support 40GE by default. You can purchase right-to-use (RTU) licenses to upgrade the port rate from 40GE to 100GE | 1 | Pcs | 2175 | 2175 | 0% | 2175 | 2175 | 10% | 10% | 40% | 35% | 4698 | 4698 | 648324 | 648324
| Total | [13 empty] | 203376.1365 |  | 30845502.837

## CCTV_SOC
CON-MAU-CCTV SOC-BOQ-Tuluawliya
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price Including VAT (ETB) | Total Price Including VAT (ETB)
1 | Door Access Control device
1.1 | DHI-ASI7213Y-V3 | > 7 inch IPS display, resolution 1024×600 > Support face unlock, IC card unlock, and password unlock; unlock by period > With face detection box; the largest face among faces that appear at the same time is recognized first; the maximum face size can be configured on the web > 2MP wide-angle WDR lens; with auto/manual fill light > Face-camera distance: 0.3 m–2.0 m; human height: 0.9 m–2.4 m > With face recognition algorithm, the access controller can recognize more than 360 positions on human face > Face verification accuracy>99.5%; face comparison speed 0.35s per person; low false recognition rate > Support profile recognition; the profile angle is 0°–90° > Holds 50, 000 users, 50, 000 faces, 50, 000 cards, 50, 000 passwords, and 50 administrators > Support liveness detection > Support duress alarm, tamper alarm, intrusion alarm, door contact timeout alarm, illegal card exceeding threshold alarm , and more > Support general users, patrol users, VIP users, guest users, and the disabled users > With 4 unlock status display modes | 1 | Pcs | 220 | 220 | 13% | 191.4 | 191.4 | 10% | 10% | 40% | 50% | 459.36 | 459.36 | 63391.68 | 63391.68
2 | Work station
2.1 | Lenovo IdeaCentre AIO 3 27ITL6 All in One | Windows 11 Home Integrated Intel® UHD Graphics 630 27.0” QHD (2560 x 1440) IPS, anti-glare, touchscreen, 350 nits 8 GB DDR4 2667MHz • 1 TB 5400 RPM HDD • 256 GB PCIe SSD | 3 | Pcs | 1409 | 4227 | 0% | 1409 | 4227 | 10% | 10% | 40% | 50% | 3381.6 | 10144.8 | 466660.8 | 1399982.4
3 | Display Screen (Video Wall Display) With mounting accessories | [14 empty] | 607089.6 | 3642537.6
3.1 | DHI-LS550UDM-EG | 55" Dahua display unit(1.8mm) | 6 | Pcs | 1600 | 9600 | 0% | 1600 | 9600 | 10% | 10% | 40% | 50% | 3840 | 23040 | 529920 | 3179520
3.2 | LS550UD/E-E/U-Y | 55" bracket of rear maintenance | 6 | Pcs | 105 | 630 | 0% | 105 | 630 | 10% | 10% | 40% | 50% | 252 | 1512 | 34776 | 208656
3.1 | DHI-LS550UD/E-E/U-D1000 | 55" pedestal with a height of 1 meter | 3 | Pcs | 140 | 420 | 0% | 140 | 420 | 10% | 10% | 40% | 50% | 336 | 1008 | 46368 | 139104
3.2 | DH-W-HDMI15M | HDMI 15m male-male/1080P with buckle | 8 | Pcs | 15 | 120 | 0% | 15 | 120 | 10% | 10% | 40% | 50% | 36 | 288 | 4968 | 39744
3.3 | DHL470UTS-E | Project accessory kit (Dahua) | 1 | Pcs | 15 | 15 | 0% | 15 | 15 | 10% | 10% | 40% | 50% | 36 | 36 | 4968 | 4968
3.1 | D6728 L=3000MM | IR EXTENDED CABLE | 1 | Pcs | 4 | 4 | 0% | 4 | 4 | 10% | 10% | 40% | 50% | 9.6 | 9.6 | 1324.8 | 1324.8
3.2 | LS-LG | Tie rod | 1 | Pcs | 6 | 6 | 0% | 6 | 6 | 10% | 10% | 40% | 50% | 14.4 | 14.4 | 1987.2 | 1987.2
3.3 | LS550-DZ3 | Pallet for 55" pedestal of display unit (3 in 1; 1250×1015×135) | 1 | Pcs | 20 | 20 | 0% | 20 | 20 | 10% | 10% | 40% | 50% | 48 | 48 | 6624 | 6624
3.1 | LS550-X2 | Wooden case for 55" display unit (4 in 1; external dimension: 1403*1163*1103) | 3 | Pcs | 61 | 183 | 0% | 61 | 183 | 10% | 10% | 40% | 50% | 146.4 | 439.2 | 20203.2 | 60609.6
4 | 10KVA UPS With External battery backup | [14 empty] | 1968984 | 1968984
4.1 | GXT5-10KIRT5UXLN | 10,000 VA / 10,000 W Vertiv Liebert GXT5-10KIRT5UXLN uninterruptible power supply (UPS) Double-conversion (Online) 10 kVA 10000 W 8 AC outlet(s). | 1 | Pcs | 3380 | 3380 | 0% | 3380 | 3380 | 10% | 10% | 40% | 50% | 8112 | 8112 | 1119456 | 1119456
4.2 | GXT5-EBC192VRT3U | External Battery cabinet | 1 | Pcs | 2565 | 2565 | 0% | 2565 | 2565 | 10% | 10% | 40% | 50% | 6156 | 6156 | 849528 | 849528
5 | Keyboard Controller
5.1 | DHI-NKB5000 | > Keyboard to control -DAHUA Standalone DVR -DAHUA high speed dome -Central Management Platform -Network Video Server > RS232, RS485 & network connections (WLAN) > Four dimensional joystick control of PTZ functions > Support 4K decoding live view > Support 4CH HDMI output > Support snapshot and recording to U-disk > Support Video-Wall display control > Preset Position, Auto Scan, Auto Pan, Auto Tour & Pattern Control > NKB5000-F model includes an extension keypad module (The module is not available in platform preview mode; F1 cannot be called in platform TV wall mode) | 2 | Pcs | 650 | 1300 | 0% | 650 | 1300 | 10% | 10% | 40% | 50% | 1560 | 3120 | 215280 | 430560
6 | HD Video Wall Controller for video wall
6.1 | NVD0905DH-4I-4K | > Designed for standalone operator viewers > H.265+/H.265/H.264/MJPEG/MPEG4/MPEG2 video decoding > Ultra-high decoding ability, up to 32MP > 2ch HDMI and 2ch DVI-I input, 9ch HDMI output > Supports 1/4/6/8/9/16/25/36 and free split > Supports alarm, RS232, RS485 > Splicing screens control for zoom/merge/roam/overlay | 1 | Pcs | 960 | 960 | 15% | 816 | 816 | 10% | 10% | 40% | 50% | 1958.4 | 1958.4 | 270259.2 | 270259.2
7 | Standard Security Door, Single-door Magnetic Lock, | [14 empty] | 184147.2 | 184147.2
7.1 | Standard Security Door | Standard Security Door | 1 | Pcs | 80000 | 80000 | 0% | 80000 | 80000 | 0% | 0% | 0% | 80% | 144000 | 144000 | 165600 | 165600
7.2 | magnetic lock | Single-door Magnetic Lock, 280kg Linear Thrust, 12 VDC, 340mA. | 1 | Pcs | 31 | 31 | 0% | 31 | 31 | 10% | 10% | 40% | 50% | 74.4 | 74.4 | 10267.2 | 10267.2
7.3 | door closer | > Suitable for any door with frame and open at 180 degree | 1 | Pcs | 25 | 25 | 0% | 25 | 25 | 10% | 10% | 40% | 50% | 60 | 60 | 8280 | 8280
8 | Table
8.1 | Standard Table | Standard Table | 3 | Pcs | 40000 | 120000 | 0% | 40000 | 120000 | 0% | 0% | 0% | 50% | 60000 | 180000 | 69000 | 207000
9 | Chair
9.1 | Standard Chair | Standard Chair | 6 | Pcs | 14000 | 84000 | 0% | 14000 | 84000 | 0% | 0% | 0% | 50% | 21000 | 126000 | 24150 | 144900
10 | Wall mount Air conditioner
10.1 | Air Conditioner | Media 2400BTU Air connditioner | 1 | Pcs | 40000 | 40000 | 0% | 40000 | 40000 | 0% | 0% | 0% | 50% | 60000 | 60000 | 69000 | 69000
11 | Portable Radio
11.1 | NX-200s/300s | Kenwood NX-1300 UHF half keypad hand radio with accessories Li-Ion Battery (2550mAh) "MULTIPLE CHARGER (6-pocket for Li-ion KNB-45L/69L/82LC)" | 10 | Pcs | 600 | 6000 | 0% | 600 | 6000 | 10% | 10% | 40% | 50% | 1440 | 14400 | 198720 | 1987200
12 | Wireless Presentation tool
12.1 | ClickShare C-5 | Barco ClickShare C-5 - Wireless video/audio extender - 802.11a, 802.11b/g/n, 802.11ac - up to 30 m | 1 | Pcs | 750 | 750 | 0% | 750 | 750 | 10% | 10% | 40% | 50% | 1800 | 1800 | 248400 | 248400
| Total | [15 empty] | 10616362.08

## OCS
CON-MAU-OCS-BOQ-Tuluawliya
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price Including VAT (ETB) | Total Price Including VAT (ETB)
1 | Server
| Dell PowerEdge R740xd2 | Processor Type: 2x Intel® Xeon® Gold 3x32GB RDIMM, 3200MT/s, Dual Rank, 8Gb BASE Performance Optimized 3200MT/s /s RDIMMs 8x 2TB 7.2K RPM 2Gbps 512n 2.5in Hot-plug Hard Drive | 2 | Pcs | 7111 | 14222 | 0% | 7111 | 14222 | 10% | 10% | 40% | 50% | 17066.4 | 34132.8 | 2355163.2 | 4710326.4
2 | photo capturing device
| Logitech C922, | Stream and record vibrant, true-to-life video. C922 features a glass lens with autofocus and a 78° diagonal field of view. Full HD streaming captures all the details, bright, natural colors, and fluid video at 1080p/30fps—and in HD at 720p/60fps. Use Capture to zoom, pan, and edit. | 2 | Pcs | 66 | 132 | 0% | 66 | 132 | 10% | 10% | 40% | 50% | 158.4 | 316.8 | 21859.2 | 43718.4
3 | Face Recognition Terminal 1
| DHI-ASI7223Y-A-V3 | 。7 inch touch screen 。50,000 face capacity 。Face speed 0.35s 。Access control and time attendance 。Wieand in/out,RS485, OSDP, TCP/IP 。P2P, NTP，DST, Auto Register | 11 | Pcs | 270 | 2970 | 0% | 270 | 2970 | 10% | 10% | 40% | 50% | 648 | 7128 | 89424 | 983664
4 | Face Recognition Terminal 2
| DHI-ASI7213Y-V3 | 。7 inch touch screen 。50000 face capacity 。50,000 card capacity 。Face speed 0.35s 。Access control 。Wieand in/out,RS485, TCP/IP 。P2P, NTP，DST, Auto Register | 4 | Pcs | 220 | 880 | 0% | 220 | 880 | 10% | 10% | 40% | 50% | 528 | 2112 | 72864 | 291456
5 | Card Reader
| DHI-ASR1100B | Card access; RS-485 & Wiegand protocol to controller; Wiegand 34 bit default, 26 bit optional; IP67; | 10 | Pcs | 16 | 160 | 0% | 16 | 160 | 10% | 10% | 40% | 50% | 38.4 | 384 | 5299.2 | 52992
6 | PVC ID card printer
| DTC4500e | The versatility of the DTC4500e is unsurpassed. Driven by an extremely robust and reliable print engine, this high-volume printer delivers speed, power and versatility rolled into one. High-capacity ribbons enable the DTC4500e to print twice as many full-color cards as most printers before the ribbon has to be changed, providing continuous high-quality card printing and encoding | 2 | Pcs | 2235 | 4470 | 0% | 2235 | 4470 | 10% | 10% | 40% | 50% | 5364 | 10728 | 740232 | 1480464
7 | Contact less Smart Card
| IC S50 | Mifare 1 Contactless Smart card, Frequency: 13.56MHz. | 5000 | Pcs | 0.5 | 2500 | 0% | 0.5 | 2500 | 10% | 10% | 40% | 50% | 1.2 | 6000 | 165.6 | 828000
8 | Ribbon kit
1 | Fargo YMCKO Color Ribbon | YMCKO color ribbon 500 full color prints per roll Fargo 45200 ribbon is for use with the following Fargo printers: DTC4500e | 50 | Pcs | 71 | 3550 | 0% | 71 | 3550 | 10% | 10% | 40% | 50% | 170.4 | 8520 | 23515.2 | 1175760
9 | Poly guard laminate
| Fargo 82612 | Clear patch overlaminate 1.0 mil thick Approximately 1/16" border from patch to card after lamination 250 imprints per roll | 50 | roll | 42 | 2100 | 0% | 42 | 2100 | 10% | 10% | 40% | 50% | 100.8 | 5040 | 13910.4 | 695520
10 | Barcode Scanner
| Zebra DS8178 | The DS8100 Series handheld scanners rise above conventional imagers to deliver unprecedented scanning performance on 1D and 2D barcodes, innovative productivity enhancing tools and unrivaled manageability to keep your checkout lines moving and your cashiers free to deliver a more personal checkout experience. | 10 | Pcs | 495 | 4950 | 0% | 495 | 4950 | 10% | 10% | 40% | 50% | 1188 | 11880 | 163944 | 1639440
11 | Barcode Printer
11.1 | Zebra ZD220, | The ZD220 desktop printer gives you reliable operation and basic features at an affordable price—both at the point of purchase and across the entire lifecycle. Engineered with Zebra quality, it boasts a dual-wall construction for added durability. And, it is ENERGY STAR® qualified to reduce your operational expenses. Built to last for years, the ZD220 provides an outstanding return on your investment. | 2 | Pcs | 652 | 1304 | 0% | 652 | 1304 | 10% | 10% | 40% | 50% | 1564.8 | 3129.6 | 215942.4 | 431884.8
12 | Barcode Paper | [8 empty] | 10% | 10% | 40% | 50% |  |  | 17506.2857 | 1225440
12.1 | Zebra printer ribbon | Zebra, 5319 Wax Ribbon, 33MM x 74M, 1.3" x 244', 0.5" Core, 12 Rolls Per Case, (Priced per Case) | 70 | roll | 50 | 3500 | 0% | 50 | 3500 | 10% | 10% | 40% | 50% | 120 | 8400 | 16560 | 1159200
12.2 | Zebra barcode printing Lable | barcode tag lables | 2 | pack | 100 | 200 | 0% | 100 | 200 | 10% | 10% | 40% | 50% | 240 | 480 | 33120 | 66240
13 | swing Barrier | [8 empty] | 10% | 10% | 40% | 50% |  |  | 645880.0645 | 20022282
13.1 | DHI-ASGB610K-L | Left-Swing Barrier(card) | 11 | Pcs | 1450 | 15950 | 0% | 1450 | 15950 | 10% | 10% | 68% | 50% | 4089 | 44979 | 564282 | 6207102
13.2 | DHI-ASGB621K-D | MiddleSwing Barrier(one hole) | 10 | Pcs | 2100 | 21000 | 0% | 2100 | 21000 | 10% | 10% | 68% | 50% | 5922 | 59220 | 817236 | 8172360
13.3 | DHI-ASGB611K-R | Right-Swing Barrier(one hole) | 10 | Pcs | 1450 | 14500 | 0% | 1450 | 14500 | 10% | 10% | 68% | 50% | 4089 | 40890 | 564282 | 5642820
14 | SQL server 2017 | [14 empty] | 98275.32 | 196550.64
14.1 | 228-11468 | SQLSvrStd 2019 SNGL OLP NL Acdmc | 2 | Pcs | 200 | 400 | 0% | 200 | 400 | 0% | 10% | 0% | 50% | 330 | 660 | 45540 | 91080
14.2 | 359-06848 | SQLCAL 2019 SNGL OLP NL Acdmc UsrCAL | 2 | Pcs | 231.6 | 463.2 | 0% | 231.6 | 463.2 | 0% | 10% | 0% | 50% | 382.14 | 764.28 | 52735.32 | 105470.64
15 | Windows server 2019 | [14 empty] | 61044.3 | 183132.9
| 9EM-00631 | WinSvrSTDCore 2019 SNGL OLP 16Lic NL Acdmc CoreLic | 3 | Pcs | 215 | 645 | 0% | 215 | 645 | 0% | 10% | 0% | 50% | 354.75 | 1064.25 | 48955.5 | 146866.5
| R18-05748 | WinSvrCAL 2019 SNGL OLP NL Acdmc UsrCAL | 3 | Pcs | 36.5 | 109.5 | 0% | 36.5 | 109.5 | 10% | 10% | 40% | 50% | 87.6 | 262.8 | 12088.8 | 36266.4
16 | 10KVA UPS | [14 empty] | 2362780.8 | 2362780.8
| GXT5-10KIRT5UXLN | 10,000 VA / 10,000 W Vertiv Liebert GXT5-10KIRT5UXLN uninterruptible power supply (UPS) Double-conversion (Online) 10 kVA 10000 W 8 AC outlet(s). | 1 | Pcs | 3380 | 3380 | 0% | 3380 | 3380 | 10% | 10% | 72% | 50% | 9734.4 | 9734.4 | 1343347.2 | 1343347.2
| GXT5-EBC192VRT3U | External Battery Pack | 1 | Pcs | 2565 | 2565 | 0% | 2565 | 2565 | 10% | 10% | 72% | 50% | 7387.2 | 7387.2 | 1019433.6 | 1019433.6
17 | Workstation
| Lenovo IdeaCentre AIO 3 27ITL6 All in One | Windows 11 Home Integrated Intel® UHD Graphics 630 27.0” QHD (2560 x 1440) IPS, anti-glare, touchscreen, 350 nits 8 GB DDR4 2667MHz • 1 TB 5400 RPM HDD • 256 GB PCIe SSD | 4 | Pcs | 1409 | 5636 | 0% | 1409 | 5636 | 10% | 10% | 40% | 50% | 3381.6 | 13526.4 | 466660.8 | 1866643.2
| Total | [13 empty] | 202422.6 |  | 38190055.14

## CCTV&OCS_SCS
CON-MAU-SCS-BOQ-Tuluawliya
No. | Item Part Number | Item Description | Qty. | UoM | GPL Unit Cost (USD) | GPL Total Cost (USD) | Discount (%) | Discounted Unit Cost (USD) | Discounted Total Cost (USD) | Frieght & Insurance | Bank Charges | Import Tax | Margin (%) | Unit Price (USD) | Total Price (USD) | Unit Price Including VAT (ETB) | Total Price Including VAT (ETB)
1 | CCTV and OCS structural cabling
1 | FTP Cable | (FTP) outdoor-rated CAT6 cable 305 meter Per Role | 20 | Roll | 11500 | 230000 | 0% | 11500 | 230000 | 0% | 0% | 0% | 50% | 17250 | 345000 | 19837.5 | 396750
2 | UTP Cable | (UTP) Full Copper CAT6 UTP cable 305M Per Roll | 30 | Roll | 23000 | 690000 | 0% | 23000 | 690000 | 0% | 0% | 0% | 50% | 34500 | 1035000 | 39675 | 1190250
3 | Single Mode Fiber cable outdoor | • 12 cores • Known Brand • outdoor | 1000 | meter | 300 | 300000 | 0% | 300 | 300000 | 0% | 0% | 0% | 50% | 450 | 450000 | 517.5 | 517500
4 | Fiber splicing sleeve | Fiber Optics Fusion Splicing Sleeve 5per pack | 40 | pack | 138 | 5520 | 0% | 138 | 5520 | 0% | 0% | 0% | 50% | 207 | 8280 | 238.05 | 9522
5 | 12 port Single Mode Fiber Patch Panel | • 12 port LC duplex panel loaded with 12xLC duplex • single mode • rack mountable • Brand: known brand | 35 | PC | 3700 | 129500 | 0% | 3700 | 129500 | 0% | 0% | 0% | 50% | 5550 | 194250 | 6382.5 | 223387.5
6 | Single Mode Pigtail (C) | • LC single mode fiber pigtail tight buffer-9/125 OSI/OS2 1 meter | 300 | PC | 110 | 33000 | 0% | 110 | 33000 | 0% | 0% | 0% | 50% | 165 | 49500 | 189.75 | 56925
7 | Fiber Patch Cord LC-LC | LC-LC Single Mode Fiber Patch Cord 1m | 100 | PC | 350 | 35000 | 0% | 350 | 35000 | 0% | 0% | 0% | 50% | 525 | 52500 | 603.75 | 60375
8 | Warning Tape | ·Fiber Optics Warning Tape | 3000 | meter | 13 | 39000 | 0% | 13 | 39000 | 0% | 0% | 0% | 50% | 19.5 | 58500 | 22.425 | 67275
9 | Patch Panel for UTP | • Brand: known brand , Number of RJ-45 port: , 24 Port, with cable management and port labeling features , Standard/category , Compatible for Category 6 | 40 | PC | 4000 | 160000 | 0% | 4000 | 160000 | 0% | 0% | 0% | 50% | 6000 | 240000 | 6900 | 276000
10 | Switch Rack | 9 Unit Rack with Mounting Accessory | 10 | PC | 19000 | 190000 | 0% | 19000 | 190000 | 0% | 0% | 0% | 50% | 28500 | 285000 | 32775 | 327750
11 | 1m UTP Patch Cord | • Cable Type  Category 6 Cable Factory Made (with cable Jacket and RJ-45 Connector) • Cable Length  1m • Brand  Known brand | 300 | PC | 250 | 75000 | 0% | 250 | 75000 | 0% | 0% | 0% | 50% | 375 | 112500 | 431.25 | 129375
12 | Cable trunk | PVC cable Trucking (15mmx25mm) | 1000 | meter | 260 | 260000 | 0% | 260 | 260000 | 0% | 0% | 0% | 50% | 390 | 390000 | 448.5 | 448500
13 | PPR pipe ¾ with accessories and including installation | PPR pipe ¾ with accessories and including installation | 500 | meter | 120 | 60000 | 0% | 120 | 60000 | 0% | 0% | 0% | 50% | 180 | 90000 | 207 | 103500
14 | RJ45 CONNECTOR FOR FTP cabel | Standard RJ 45 Connector | 200 | pcs | 10 | 2000 | 0% | 10 | 2000 | 0% | 0% | 0% | 50% | 15 | 3000 | 17.25 | 3450
15 | Power outlet | ·Single phase power outlet(flat surface mounted ) | 40 | pc | 60 | 2400 | 0% | 60 | 2400 | 0% | 0% | 0% | 50% | 90 | 3600 | 103.5 | 4140
16 | power cable | 2.5X3 power cable | 500 | meter | 270 | 135000 | 0% | 270 | 135000 | 0% | 0% | 0% | 50% | 405 | 202500 | 465.75 | 232875
17 | Junction Box | • Junction box IP6 Water Proof • 10X10 Size | 100 | pc | 80 | 8000 | 0% | 80 | 8000 | 0% | 0% | 0% | 50% | 120 | 12000 | 138 | 13800
19 | UPVC | 75 Diameter UPVC 6m length 4pn | 500 | meter | 280 | 140000 | 0% | 280 | 140000 | 0% | 0% | 0% | 50% | 420 | 210000 | 483 | 241500
20 | HDP pipe | HDP Pipe 50 size PN10 | 500 | meter | 50 | 25000 | 0% | 50 | 25000 | 0% | 0% | 0% | 50% | 75 | 37500 | 86.25 | 43125
21 | data outlet | Double data outlet Known Brand | 100 | pc | 3 | 300 | 0% | 3 | 300 | 0% | 0% | 0% | 50% | 4.5 | 450 | 5.175 | 517.5
22 | Fisher 6mm | 6mm fisher 100/pack | 100 | pack | 60 | 6000 | 0% | 60 | 6000 | 0% | 0% | 0% | 50% | 90 | 9000 | 103.5 | 10350
23 | Screw 6mm | 6mm screw 100/pack | 100 | pack | 75 | 7500 | 0% | 75 | 7500 | 0% | 0% | 0% | 50% | 112.5 | 11250 | 129.375 | 12937.5
24 | 42 U Active Device Rack Cabinet | 42 U Rack Active device rack with 4 Fan at the Top 1000X600X2000 Size | 2 | pc | 27000 | 54000 | 0% | 27000 | 54000 | 0% | 0% | 0% | 50% | 40500 | 81000 | 46575 | 93150
25 | 42U Cabling Rack Cabinet | 42 U Rack for Cabling rack with 4 Fan at the Top 1000X800X2000 Size | 1 | meter | 27000 | 27000 | 0% | 27000 | 27000 | 0% | 0% | 0% | 50% | 40500 | 40500 | 46575 | 46575
| Total | [14 empty] | 202910.025 | 4509529.5

## PS
CON-MAU-PS-BOQ-Tuluawliya
1 | Professional Service
1 | Path indicator with labor work | 45 cm height concert Fiber path indicator production and installation with level | 50 | Pcs | 150 | 7500 | 0% | 150 | 7500 | 0% | 0% | 0% | 50% | 225 | 11250 | 258.75 | 12937.5
2 | manhole | with reinforced cover  60 cm Cover diameter  100 cm depth  Bedding | 30 | Pcs | 1500 | 45000 | 0% | 1500 | 45000 | 0% | 0% | 0% | 50% | 2250 | 67500 | 2587.5 | 77625
3 | Excavation and refill of soil | Trench excavation not more than 100 cm depth minimum 60cm and fiber warning tape work | 2000 | meter | 100 | 200000 | 0% | 100 | 200000 | 0% | 0% | 0% | 50% | 150 | 300000 | 172.5 | 345000
4 | Installation FTP/Fiber | Installation of FTP/Fiber Cable inside UPVC | 5000 | set | 200 | 1000000 | 0% | 200 | 1000000 | 0% | 0% | 0% | 50% | 300 | 1500000 | 345 | 1725000
5 | Coble stone and another road crossing | Road Crossing and recovering to Original | 100 | meter | 1000 | 100000 | 0% | 1000 | 100000 | 0% | 0% | 0% | 50% | 1500 | 150000 | 1725 | 545100
6 | Camera Mounting with foot construction | Camera Mounting and Testing | 100 | pc | 5000 | 500000 | 0% | 5000 | 500000 | 0% | 0% | 0% | 50% | 7500 | 750000 | 8625
7 | fiber splicing | fiber splicing for building connectivity | 200 | core | 5000 | 1000000 | 0% | 5000 | 1000000 | 0% | 0% | 0% | 50% | 7500 | 1500000 | 8625
8 | Camera Mounting pole | Standard 6-meter metal camera mounting pole | 24 | pc | 9000 | 216000 | 0% | 9000 | 216000 | 0% | 0% | 0% | 50% | 13500 | 324000 | 15525
10 | NVR configuration | NVR Mounting and Configuration | 1 | pcs | 5000 | 5000 | 0% | 5000 | 5000 | 0% | 0% | 0% | 50% | 7500 | 7500 | 8625
11 | SOC Room decoration | SOC Room setup (display TV , table , chair PC,) and Renovation that includes gypsum work, lighting. Room paint, carpet, Curtain, for Control Room | 1 | Ls | 120000 | 120000 | 0% | 120000 | 120000 | 0% | 0% | 0% | 50% | 180000 | 180000 | 207000 | 207000
12 | Video management Software Configuration | Video Management Software Deployment and Setup | 1 | Set | 120000 | 120000 | 0% | 120000 | 120000 | 0% | 0% | 0% | 50% | 180000 | 180000 | 207000 | 207000
13 | 8 port Access Switch Configuration | 8 Port Switch Configuration | 30 | pc | 120000 | 3600000 | 0% | 120000 | 3600000 | 0% | 0% | 0% | 50% | 180000 | 5400000 | 207000 | 6210000
14 | Core Switch Configuration | Design and configuration of core Switch | 1 | pc | 120000 | 120000 | 0% | 120000 | 120000 | 0% | 0% | 0% | 50% | 180000 | 180000 | 207000 | 207000
15 | Node Instalation | Node Instalation (Trunking and cable installation , Punching …for one card and CCTV camera | 160 | pcs | 700 | 112000 | 0% | 700 | 112000 | 0% | 0% | 0% | 50% | 1050 | 168000 | 1207.5 | 193200
16 | Rack mounting | 9u rack mounting | 30 | pcs | 1000 | 30000 | 0% | 1000 | 30000 | 0% | 0% | 0% | 50% | 1500 | 45000 | 1725 | 51750
17 | 42 U Rack Mounting | 42U rack mounting | 3 | set | 5000 | 15000 | 0% | 5000 | 15000 | 0% | 0% | 0% | 50% | 7500 | 22500 | 8625 | 25875
2 | One Card Sofware | [11 empty] | 50%
1 | One card Device Mounting and Deployment | Device Configuration and Mounting ,(Face Recognition ,Turnstile) | 1 | set | 1000000 | 1000000 | 0% | 1000000 | 1000000 | 0% | 0% | 0% | 50% | 1500000 | 1500000 | 1725000 | 1725000
2 | Shelter for the main gate turnstile devices | Construction of All Civil Work and decoration for turnstile device deployment | 1 | set | 300000 | 300000 | 0% | 300000 | 300000 | 0% | 0% | 0% | 50% | 450000 | 450000 | 517500 | 517500
| Total | [15 empty] | 12049987.5